## Sheet1
TOC and UVB during blue sky days, June 2026 (MeteoLCD, Diekirch, Luxembourg)
Date | TOCx10 | UVBmax | SZA_TOC | Solarmax | Ground_O3 | RAF1_UVB | RAF2_TOC | RAF
2026-06-18 | 3179 | 2467 | 29.207 | 866.1 | 95.8
2026-06-19 | 3222 | 2416 | 26.843 | 855.3 | 131.5 | 0.02089 | 0.013436 | 1.5548
2026-06-20 | 3373 | 2381 | 26.437 | 875.7 | 127.1 | 0.035482 | 0.059236 | 0.599
2026-06-21 | 3286 | 2314 | 28.455 | 850.4 | 98 | 0.064025 | 0.033104 | 1.934
2026-06-24 | 3024 | 2577 | 28.055 | 843.9 | 86.8 | -0.043623 | -0.049986 | 0.8727
2026-06-25 | 3051 | 2544 | 27.198 | 856.9 | 116.4 | -0.030735 | -0.041097 | 0.74786
2026-06-26 | 3085 | 2396 | 27.799 | 839 | 143.8 | 0.029202 | -0.030015 | -0.97292
2026-06-27 | 3020 | 2504.2 | 27.938 | 843.5 | 128 | -0.014966 | -0.05131 | 0.29169
[7 empty] | RAF avg | 0.71817
Remarks:
Ground Ozone in ug/m3, measured at approx. 11:00 UTC
TOC =Total Ozone Column, in DUx10, measured around 11:00 UTC (Microtops serial 5375)
Solarmax = maximum irradiance of the day, W/m2 on horizontal plane
SZA = Solar Zenith Angle when TOC is measured (computed)
UVBmax = maximum of erythemal effective UVB in mMED/h |  |  |  | 1000 mMED/h = 2.78 UVI
REFERENCES:
MASSEN, Francis | Radiation Amplification Factor in April 2021 [2021] |  |  |  |  | link
| Radiation Amplification Factor from sudden dip in TOC [2013] |  |  |  |  | link
| RAF in Diekirch, LU, March 2022 (contains further links) |  |  |  |  | link
Data origin:
UVB, Solar, Ground O3 |  | meteoLCD | Raoul THOLL & Marco GOFFINET
TOC |  | ourclimate.lu | Francis & Mylène MASSEN
Conclusions:
clear negative relationship between TOC and UVB: if TOC decreases, UVB increases
RAF = Radiation Amplification Factor, approx. 0.8 (slope of trendline of 3rd plot). Values found in literature are from 0.7 to 1.4
version | 1.1 | 2026-06-30